ALCHEMCO SURFACE & CRACK ASSESSMENT

PROJECT INFORMATION	*If not applicable/pre-bid, please write N/A

Project Name: 	___________________________________________	Owner / Client:	___________________________________________

*Project Number:	___________________________________________	*General Contractor:___________________________________________

Project Location: 	___________________________________________	*Consultant(s):	___________________________________________

___________________________________________	*Architect (RA):	___________________________________________

State: _____________  ZIP: ___________________	*Engineer (RE):	___________________________________________

Structure Type:	___________________________________________

Area Size (SF):	___________________________________________

ASSESSOR INFORMATION

Company Name:	___________________________________________	Name:		___________________________________________

Company Location:	___________________________________________	Position/Title:	___________________________________________

___________________________________________	Phone Number:	___________________________________________

State: _____________  ZIP: ___________________	Email:		___________________________________________

CHECKLIST

This checklist is to be completed in full and submitted to the Alchemco Technical Department.

DOCUMENTATION

Documentation shall be completed in conjunction with this checklist and must include representative photos and/or drawings.

ALCHEMCO SURFACE & CRACK ASSESSMENT

| Item | Check | Initial | Comments (N/A if non-applicable) |
| --- | --- | --- | --- |
| Identify and document existing coatings or remnants |  |  |  |
| Identify and document paint or line striping exceeding 4” width |  |  |  |
| Identify and document oil, grease, or chemical contamination |  |  |  |
| Identify and document all cracks utilizing the Crack Assessment Guide |  |  |  |
| Identify and document laitance's, weak / loose surface layers, or dense finishes |  |  |  |
| Identify and document exposed reinforcement |  |  |  |
| Identify and document unconsolidated concrete (honeycombing, voids, etc.) |  |  |  |
| Performed and documented hammer test to reveal inadequate concrete cover |  |  |  |
| Identify and document all penetrations |  |  |  |
| Identify and document terminations |  |  |  |
| Identify and document all joints (construction joints, cold joints, expansion joints, etc.) |  |  |  |
| Identify and document active leaks |  |  |  |
| Identify and document any patch/repair areas and materials |  |  |  |
| Evaluate and document surface profile (CSP) and surface finish (broom, etc.) |  |  |  |
| Evaluate and document surface absorption rate (pour water down and observe) |  |  |  |
| Identify areas needing shot blasting, etching, or abrasion to promote absorption |  |  |  |

FINAL VERIFICATION & COMPLETION

All sections of this checklist have been completed, reviewed, and verified to the best of my knowledge.

Name: __________________________________________

Signature: ______________________________________

Date: __________________