ETT WATER STRUCTURES APPLICATION CHECKLIST

PROJECT INFORMATION

Project Name: 	___________________________________________	Owner / Client:	___________________________________________

Project Number:	___________________________________________	General Contractor:	___________________________________________

Project Location: 	___________________________________________	Structure Type:	___________________________________________

___________________________________________	Area Treated (SF):	___________________________________________

State: _____________  ZIP: ___________________	Application Date:	___________________________________________

CONTRACTOR INFORMATION

Company Name:	___________________________________________	On-Site Supervisor / Foreman

Company Location:	___________________________________________	Name:		___________________________________________

___________________________________________	Phone Number:	___________________________________________

State: _____________  ZIP: ___________________	Email:		___________________________________________

Are you ETT Certified?

- Yes 						Certification #:	___________________________________________

- No

Please note: All applications requiring a warranty MUST be performed with an ETT Certified individual present.

MATERIAL INFORMATION

ETT Product:  ________________________

Batch Number(s) / Production Date(s):	______________________________________________________________________________________

______________________________________________________________________________________

______________________________________________________________________________________

CHECKLIST

This ETT Quality Application checklist must be completed by the on-site supervisor/foreman. Each item is to be reviewed and verified in order as the work is performed, with initials, comments, and timestamps provided where required. All sections must be completed in full. Any non-applicable items or deviations from standard application are to be clearly noted.

DOCUMENTATION

Documentation shall be completed in conjunction with this checklist and must include representative pre-application, application, and post-application photos, material usage records, and any deviations from standard application. Documentation shall be sufficient to verify proper installation. Incomplete or missing documentation may result in delayed warranty issuance, reduced coverage, or additional verification requirements.

Please ensure that the ETT Master Application Guide as well as all applicable product TDSs have been read and understood prior to completing this checklist.

ETT WATER STRUCTURES APPLICATION CHECKLIST

Please check and initial each line item in order as the work is performed. Provide comments where applicable, especially for any deviations. Each section is to be reviewed, initialed, and dated upon completion.

| PRE-ASSESSMENT – Is this structure suitable? |  |  |  |
| --- | --- | --- | --- |
| Item | Check | Initial | Comments (N/A if non-applicable) |
| Structure has been filled/load tested |  |  |  |
| No structural movement or unresolved leaks present |  |  |  |

Initial: ________	Date: _______________

| PRE-INSTALL – Is the surface ready? Are we prepared? |  |  |  |
| --- | --- | --- | --- |
| Item | Check | Initial | Comments (N/A if non-applicable) |
| Project has been registered with Alchemco. |  |  |  |
| Surface & Crack Assessment has been completed and submitted to the Alchemco Technical Department for review. |  |  |  |
| Pre-application photos taken (Overall, surface, transitions, joints, etc.) |  |  |  |
| Pre-Install Meeting (labor warranties only) |  |  |  |
| ETT Encyclopedia and product TDSs have been read |  |  |  |
| Materials and equipment on-site/ready see below |  |  |  |
| Application plan/schedule in place (ensure surface temp between 50-100F) |  |  |  |

Initial: ________	Date: _______________

MATERIALS & EQUIPMENT NEEDED:

TechCrete 2500 & Surface Accelerating Agent		Crack Preparation & Treatment

(5-gallon pail = 1,000 square feet)			ACRtec Crack Accelerating Agent (5-gallon pail = 700-800 linear feet)

(55-gallon drum = 11,000 square feet)			enDuraTite Plug (for active leaks)

(275-gallon tote = 55,000 square feet)			enDuraTite Repair Grout (infill cracks/voids)

Troweling tools

Grinder

Surface Preparation			Application				Flashing Treatment

Shot blaster			Low pressure backpack sprayers		enDuraTite MLastic / enDuraTite Foundation

Pressure Washer			Clean water source				4” rollers or brushes

Compressed Air			Materials for protected surfaces (if needed)

Vacuum				Temperature gun (for surface)

| STRUCTURAL REPAIRS / CONCRETE DEFECTS |  |  |  |
| --- | --- | --- | --- |
| Item | Check | Initial | Comments (N/A if non-applicable) |
| Previous patches and repair materials removed |  |  |  |
| Unsound or deteriorated concrete removed |  |  |  |
| Honeycombing opened |  |  |  |
| Spalls/delamination removed, treated with TechCrete 2500, and repaired |  |  |  |
| Voids, leaks, and defects opened, treated with TechCrete 2500, and repaired |  |  |  |
| Tie holes treated with TechCrete 2500 and filled back |  |  |  |
| All exposed reinforcement cleaned with ACRtec Rust Converter & Inhibitor |  |  |  |
| No active water infiltration present |  |  |  |
| Concern area treatments photographed and documented |  |  |  |

Initial: ________	Date: _______________

| SURFACE PREPARATION |  |  |  |
| --- | --- | --- | --- |
| Item | Check | Initial | Comments (N/A if non-applicable) |
| Shot blast or pressure washing performed |  |  |  |
| Application area is free of previous coatings, membranes, curing compounds, sealers and other materials |  |  |  |
| Surface is absorptive |  |  |  |
| Surface clean, dry to touch, and dust-free |  |  |  |
| Surface preparation photos/notes taken |  |  |  |

Initial: ________	Date: _______________

| CRACK IDENTIFICATION & PREPARATION |  |  |  |
| --- | --- | --- | --- |
| Item | Check | Initial | Comments (N/A if non-applicable) |
| Cracks mapped, documented, and classified (dynamic vs. static) |  |  |  |
| Cracks routed as needed |  |  |  |
| Cracks treated with TechCrete 2500 as needed |  |  |  |
| Cracks treated with ACRtec Crack Accelerating Agent as needed |  |  |  |
| Routed cracks infilled with enDuraTite Repair Grout/Plug |  |  |  |
| Routed cracks flashed over with enDuraTite MLastic/Foundation extending 4” all directions |  |  |  |

Initial: ________	Date: _______________

| TECHCRETE 2500 APPLICATION |  |  |  |
| --- | --- | --- | --- |
| Item | Check | Initial | Comments (N/A if non-applicable) |
| Surface temperature recorded (between 50F – 100F) |  |  |  |
| TechCrete 2500 applied at 200 sqft/gallon (5 sqm/l) |  |  |  |
| Uniform coverage |  |  |  |
| No pooling / puddling (excess may be blotted up or spread) |  |  |  |
| Vertical / overhead surfaces applied in two (2) 400 sqft/gallon (10 sqm/l) passes |  |  |  |
| Water misted at 200sqft/gallon 1 – 3 hours later |  |  |  |
| Application documented with photos and timestamps |  |  |  |

Initial: ________	Date: _______________

| SURFACE ACCELERATOR APPLICATION (REQUIRED) |  |  |  |
| --- | --- | --- | --- |
| Item | Check | Initial | Comments (N/A if non-applicable) |
| 24 hours minimum after TechCrete 2500 |  |  |  |
| Dilute with water at a ratio of 1 : 20 parts water. (Concentrate only) |  |  |  |
| ACRtec Surface Accelerator applied at 200 sqft/gallon (5 sqm/l) |  |  |  |
| Uniform coverage |  |  |  |
| No pooling / puddling (excess may be blotted up or spread) |  |  |  |
| Vertical / overhead applied in two (2) 400 sqft/gallon (10 sqm/l) passes |  |  |  |
| Water misting (200sqft/gallon) 1 – 3 hours later |  |  |  |
| Accelerator documented with photos and timestamps |  |  |  |

Initial: ________	Date: _______________

| FINAL DETAILING |  |  |  |
| --- | --- | --- | --- |
| Item | Check | Initial | Comments (N/A if non-applicable) |
| Joints and transitions treated |  |  |  |
| Penetrations addressed |  |  |  |
| Membrane continuity confirmed |  |  |  |

Initial: ________	Date: _______________

FINAL VERIFICATION & COMPLETION

All sections of this checklist have been completed, reviewed, and verified. The work has been performed and documented in accordance with the ETT Encyclopedia, associated TDS documents, and requirements outlined within this checklist.

Contractor Supervisor / Foreman

Name: __________________________________________

Signature:	 ______________________________________

Date: __________________